## Slide 1: Electrical Machinery Fundamentals
1
EE 250 SPRING 2020
Lecture 10-Chapter 18

## Slide 2: Chapter 18 Single-Phase Motors

## Slide 3: 18.1 Construction of a single-phase induction motor
Similar to that of 3-phase induction motor
Composed of squirrel-cage rotor and stator carries main windings and smaller auxiliary winding
  Main winding: Creates set of N and S poles
  Smaller auxiliary winding: Operates during short period of time when motor starts up and have same number of poles as the main winding have
Construction is shown step by step in images:

## Slide 4: 18.1 Construction of a single-phase induction motor

## Slide 5: 18.1 Construction of a single-phase induction motor

## Slide 6: 18.1 Construction of a single-phase induction motor

## Slide 7: 18.2 Synchronous speed

## Slide 8: 18.3 Torque-speed characteristic
Schematic diagram of rotor and main winding of a 2-pole induction motor is shown:
On application of AC voltage, flux is produced but it pulsates back and forth and no rotation is produced like 3-phase induction motor
Initial external spin is required in either direction for rotation
Motor develops powerful torque as it approaches the synchronous speed

## Slide 9: 18.3 Torque-speed characteristic

## Slide 10: 18.4 Principle of operation
Complex and can be explained by cross-field theory
As rotor begins to turn, emf E is induced in rotor as they cut the stator flux ɸS
Voltage increases as the rotor speed increases => Current Ir flows in rotor bars => Rotor flux ɸr will be produced that will act perpendicular to stator flux ɸS
ɸr will not reach at its maximum value in the same time as ɸS does => ɸr lags behind ɸS by 90°
Combined action of both fluxes produces revolving magnetic field => Similar to 3-phase
ɸr increases as motor speeds up becoming almost equal to ɸS at synchronous speed
Flux is strong horizontally and weak vertically => Field strength at low speed follows elliptic pattern
As motor approaches synchronous speed => ɸr becomes almost equal to ɸS => Nearly perfect revolving field is produced

## Slide 12: 18.4 Principle of operation

## Slide 13: 18.4 Principle of operation

## Slide 14: 18.5 Locked-rotor torque
Creation of revolving magnetic field by the addition of an auxiliary winding
Explanation of figure:
  Connect main and auxiliary winding to AC source => Main and auxiliary windings produces ɸS and ɸa respectively, If 2 fluxes are out of phase then revolving magnetic field is set up
  Either of flux can lead or lag depending upon the setup
  Auxiliary winding is used to produce strong flux ɸa during accelerating period when rotor flux ɸr is weak => ɸa strengthens ɸr and produces powerful torque both at standstill and low speeds, Locked rotor torque is given as:
  T= k*Ia*Is*sinα
  Impedance in series with auxiliary winding for required phase shift between Ia and Is
  Impedance can be capacitive or inductive depending upon the required starting torque
  Special centrifugal switch in series with auxiliary winding => Designed to disconnect auxiliary when motor reaches 75% of synchronous speed

## Slide 15: 18.5 Locked-rotor torque

## Slide 16: 18.6 Resistance split-phase motor
Main winding (having large number of turns) of 1-phase motor is usually made of large wire to reduce I2R losses , Main winding will be more inductive than Resistive
the inductive reactance is high and resistance is low => Locked-rotor current Is lags behind the applied voltage
Auxiliry winding is made of small wire and less number of turns and will be more resistive.
Ia will be more nearly in phase with E
In resistance split-phase motor
  The resulting phase angle α between Ia and Is produces starting torque.
Line current IL is equal to phasor sum of Ia and Is , IL is 6 to 7 times the nominal full load current of rotor at start.
Due to small wire usage for auxiliary winding, current density is high and winding heats up very quickly
So, starting period must be limited in order to avoid winding burning or motor must be used with thermal relay

## Slide 17: 18.6 Resistance split-phase motor

## Slide 19: 18.7 Capacitor-start motor
Identical to split-phase motor with same number of turns of auxiliary windings as that of main winding
Capacitor and centrifugal switch are connected in series with auxiliary windings
Capacitor is used to produces greater phase shift between Ia and Is provided Ia leads Is
This approach reduces starting current in auxiliary winding for same starting torque as compared to split-phase motor => Less heat up => Smaller line current IL
Due to high starting torque and low Ia , capacitor start motors are preferred for application involving frequent and prolong starting periods
IL is 4 to 5 times the nominal current of rotor at start.
Better starting characteristics than that of split-phase motor
Capacitor-start motors are used when high starting torque is required

## Slide 20: 18.7 Capacitor-start motor

## Slide 21: 18.7 Capacitor-start motor

## Slide 22: 18.7 Capacitor-start motor

## Slide 23: 18.8 Efficiency and power factor of single-phase motors
Efficiency and power factor of fractional horse-power single-phase induction motor are usually low
Low power factor is mainly due to large magnetizing current that ranges between 70% to 90% of full-load current
These motor at no-load have substantial temperature rises
Integral horsepower single-phase motors can have efficiencies and power factors above 80%

## Slide 24: 18.10 Capacitor-run motor
Capacitor-run motor is 2-phase motor that receives its power from single-phase source
Construction:
  Consist of two windings
  One is directly connected to source
  Other winding is also connected to source but in series with capacitor
  Capacitor-fed winding has large number of turns of relatively small wire as compared to directly connected wire
Application:
  Due to its quiet nature (2-phase) it used to drive fixed loads in hospitals, studios and at places where silence is important
Has high power factor on account of the capacitor
No requirement of centrifugal switch
Starting torque is low
Motor acts as true 2-phase motor only if operated at full-load=> Fluxes ɸa and ɸS created by two windings are equal and out of phase by 90° => Vibration-free motor

## Slide 25: 18.10 Capacitor-run motor

## Slide 26: 18.11 Reversing the direction of rotation
For reversing the direction of rotation, we either interchange the leads of auxiliary or main winding
For single-phase motor equipped with centrifugal switch: Direction can not be reversed while motor is running because only one winding is there while motor is running => If main winding leads are interchanged, motor will continue to run in the same direction
For capacitor-run motor: Direction can be reversed while motor is running because both windings are in circuit all the time
For small motors: Direction can be reversed using double-throw switch
  Main and Auxiliary windings are identical
  Position 1: A is main winding and motor turns in CW
  Position 2: B is main winding and motor turns in CCW after becoming in halt condition

## Slide 27: 18.11 Reversing the direction of rotation

## Slide 28: 18.13 Universal Motors

## Slide 29
Summary
Topics: 18.1-18.8,18.10, 18.11, 18.13
Examples: 18.1-18.2